## Hoja1
				BPL 007 – Annex 3
			Sample preparation registration GLP
			Study plan	code

Testing System (Culture):		stp_matrix if stp_matrix else ''
Reference substances:		stp_reference_objects_list if stp_reference_objects_list else ''
Procedure and / or method:		stp_test_method if stp_test_method else ''					AFS or control used:
Date of Weighing / Removal *2		_____/_____/201___		Scales N°				OP *3
Storage of extract *1		Location:					T°:
Date of purification and / or cleaning *2		_____/_____/201___		Factor or aliquot:		Final volume:		OP *3

Storage of extract *4				Location:		T°:		OP. *5
Injection date:		_____/_____/201___		Equipment (corresponding batch number):		LC-MS-MS N°:		GC-MS-MS N°:
Chromatographic column:

*2: (See weight records on back). If sampling and / or purification are not carried out on the same day of weighing, indicate storage place at * 1.
*3: Place the initials of the operator, if more than one, indicate the initials separated by /.
*4: Indicate place of storage if the date of injection differs from the date of purification and / or cleaning.
*5: Initials operator that performs sequence and injection arming.

Observations and / or comments

				BPL 007 – Annex 3

CIATI code	Label (described by customer)	Type 1	Sample Weight (g)	Fortification (mg/kg)	Volume of added std (ml)	Date preparation std	Std added	Dilution Factor	Dilution date 2	OP *3
for each="object in objects"
object.number	object.label	object.fraction_type
/for

1: RM: method recovery - BZM: blank sample - MCL: client sample - LC: limit of quantification - LD limit of detection - Vol: volume - STD: standard – 2: Indicate dilution date
3: initials operator performing sample dilution

	Date/Sign: _____/_____/201___					Date/Sign: _____/_____/201___
	(DE/IP, Strike out what does not apply)					(Operator)